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POC: Michael W. Freeman, email address: Michael.Freeman3@va.gov
PROJECT NUMBER: 438-22-600, Improve Campus Bldgs. Exteriors(SF)
Project Location: Sioux Falls VA Health Care System, 2501 W22nd St, Sioux Falls, SD 57105
                                                            
The purpose of this amendment is to answer vendor questions/ RFIs.
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Solicitation Questions and Answers
	#
	Reference
	Question
	Answer

	
	Plans & Specs Location

	Solicitation Questions
	VA/AE Response

	1.
	General

	.Will you accept past performance submissions that key individuals on the project worked on vs only the company / offeror as the past performance entity?

	Past performance submissions will only be evaluated for the following roles: Project Manager, Site Supervisor, Safety Manager, and Quality Manager. Relevant listing of experience may be from previous projects worked on.

	2.
	General

	Will you accept a combination of contracts at a single site as past performance to meet the $10M TCV?

	A minimum of three (3) and a maximum of five (5) projects completed in the past 5 years can be used to meet the $10M TCV. The contracts may come from a single site or multiple sites.

	3.
	General

	Amendment 1, Factor 1, states: “The period of performance for this project is 700 calendar days after the Notice to Proceed. For scheduling purposes, assume an estimated award date of 28 May 2026.” Would you please clarify the new estimated award date for this?
	Price Proposals are due 18 August 2026. Estimated contract award date of 30 September 2026.

	4.
	General

	Would you provide details about the underside of the roof assembly for each building detailed in the scope of work?  Ie, any known obstacles or coordination items not shown on drawings, photos or visible during the site visit.
	Known work that is required on the underside of each roof is indicated in the drawings.


	5.
	04 01 00

	Is tuckpointing required as part of the scope of work?

	Tuckpointing and replacement is indicated in the drawings.


	6.
	07 54 23

	Will alternate single-ply materials that meet or exceed a 60 Mil reinforced roofing material be accepted?
	Thermoplastic Polyolefin Roofing (TPO) is the preferred material for this project.


	7.
	Sheet 38.AE121

	Bldg. 38 currently shows 1/8” per 1 foot specified for over half the roof. Would you accept a ¼” per 1 foot drop on all low slope roofs, which is consistent with International Building Code (IBC) Chapter 15 (1/4:12, or a 2% slope) for standard membrane and built-up roof systems?
	NO – existing roof includes sloped structure – provide sloped insulation only as indicated in drawings.  (slope of existing structure is indicated on sheet 38.AE121)

	8.
	General

	When moving the satellite dishes and reinstalling them in specified locations, who is responsible for calibrations?
	Contractor is responsible for calibrations of satellite dishes upon reinstallation. 


	9.
	General

	Are there existing core cuts for the flat roofs? If so, do we have access to the cores of the existing roofs to be replaced
	There are no existing core cuts for this project.


	10.
	
	. What is the required average/minimum R value of the tapered iso?
	Insulation thickness and slope is to be provided as indicated in drawings.

	11.
	General

	Does the Government want the ballast from the roof?
	No, the Government does not want ballast from the roof.


	12.
	General

	Is there an infrared scan of the facilities that you would be willing to share?
	No, there is not an infrared scan of the facilities available.


	13.
	General

	Coping stone is shown to be removed and reinstalled.  Due to the j-hook these are installed with, they often break during removal.  Would the government like Contractors to carry an allowance or assumption for replacement of broken coping stone, or will this be treated as a change to the contract if/when required.

	This is a matter of means & methods of the contractor. The Government will not be responsible for the cost to replace broken coping stone.

	14.
	General

	Is there a staging area / access plan?  Conversely, are there any areas that definitely cannot be used for staging/access?
	Staging areas for the project will be available for a limited amount of time, agreed to by the COR, on a case-by-case basis. The area available will be dependent on the area of the campus the contractor is working in. There is no single long-term designated staging space for the project. 
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