## Building 5 - Ground Level
BUILDING 5 - GROUND LEVEL
BUILDING | FLOOR | ROOM | MATERIAL DESCRIPTION | QUANTITY | FRIABLE | AHERA ASSESSMENT CATEGORY | REMARKS | Friable Cost and Air Monitoring | Non Friable Cost and Air Monitoring
5 | Ground Level | E 06 | 9” x 9” Floor Tile/Mastic | 260 sf | No | 4 | Damaged - Cut Edge Exposed
Total

## Building 5 - 1st Floor
BUILDING 5 - FIRST FLOOR
BUILDING | FLOOR | ROOM | MATERIAL DESCRIPTION | QUANTITY | FRIABLE | AHERA ASSESSMENT CATEGORY | REMARKS | Friable Cost and Air Monitoring | Non Friable Cost and Air Monitoring
5 | 1 | 102 | Transite | 12 sf | No | 5 | Radiator | Abated | Abated
5 | 1 | 103 | Transite | 24 sf | No | 5 | Radiator | Abated | Abated
5 | 1 | 104 | Transite | 12 sf | No | 5 | Radiator | Abated | Abated
5 | 1 | 110 | Transite | 24 sf | No | 5 | Radiator | Abated | Abated
5 | 1 | 111 | 9” x 9” Floor Tile/Mastic | 144 sf | No | 5 | Carpeted
5 | 1 | 111 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 111 | Pipe Insulation | 63 lf | Yes | 5 | Above Ceiling
5 | 1 | 111 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 112 | Transite | 72 sf | No | 5 | Radiator
5 | 1 | 113 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 114 | Transite | 24 sf | No | 5 | Radiator
5 | 1 | 117 | Transite | 60 sf | No | 5 | Radiator
5 | 1 | 120 | Transite | 48 sf | No | 5 | Radiator | Abated | Abated
5 | 1 | 121 | Transite | 12 sf | No | 5 | Radiator | Abated | Abated
5 | 1 | 122 | Transite | 12 sf | No | 5 | Radiator | Abated | Abated
5 | 1 | 123 | Transite | 12 sf | No | 5 | Radiator | Abated | Abated
5 | 1 | 126 | Transite | 24 sf | No | 5 | Radiator | Abated | Abated
5 | 1 | 127 | 9” x 9” Floor Tile/Mastic | 18 sf | No | 5 | In Closet | Abated | Abated
5 | 1 | 127 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling | Abated | Abated
5 | 1 | 127 | Pipe Insulation | 44 lf | Yes | 5 | Above Ceiling | Abated | Abated
5 | 1 | 127 | Transite | 24 sf | No | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 132 | Transite | 72 sf | No | 5 | Radiator
5 | 1 | 137 | 9” x 9” Floor Tile/Mastic |  | No | 5 | Carpeted
5 | 1 | 139 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 140 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 144 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 148 | 9” x 9” Floor Tile/Mastic | 336 sf | No | 5 | Carpeted
5 | 1 | 148 | Transite | 24 sf | No | 5 | Radiator
5 | 1 | 149 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 150 | Transite | 24 sf | No | 5 | Radiator
5 | 1 | 155 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 157 | 9” x 9” Floor Tile/Mastic | 204 sf | No | 5 | Carpeted
5 | 1 | 157 | Pipe Fittings | 16 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 157 | Pipe Insulation | 82 lf | Yes | 5 | Above Ceiling
5 | 1 | 157 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 158 | 9” x 9” Floor Tile/Mastic | 132 sf | No | 5 | Carpeted
5 | 1 | 158 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling
5 | 1 | 158 | Pipe Insulation | 84 lf | Yes | 5 | Above Ceiling
5 | 1 | 158 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 159 | 9” x 9” Floor Tile/Mastic | 108 sf | No | 5 | Carpeted
5 | 1 | 159 | Pipe Fittings | 8 ea | Yes | 5 | Above Ceiling
5 | 1 | 159 | Pipe Insulation | 39 lf | Yes | 5 | Above Ceiling
5 | 1 | 159 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 160 | 9” x 9” Floor Tile/Mastic | 120 sf | No | 5 | Carpeted
5 | 1 | 160 | Pipe Fittings | 13 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 160 | Pipe Insulation | 78 lf | Yes | 5 | Above Ceiling
5 | 1 | 160 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 161 | Pipe Fittings | 19 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 161 | Pipe Insulation | 90 lf | Yes | 5 | Above Ceiling
5 | 1 | 161 | Transite | 36 sf | No | 5 | Radiator
5 | 1 | 162 | 9” x 9” Floor Tile/Mastic | 180 sf | No | 5 | Carpeted
5 | 1 | 162 | Pipe Fittings | 19 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 162 | Pipe Insulation | 60 lf | Yes | 5 | Above Ceiling
5 | 1 | 162 | Transite | 24 sf | No | 5 | Radiator
5 | 1 | 163 | 9” x 9” Floor Tile/Mastic | 144 sf | No | 5 | Carpeted
5 | 1 | 163 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 163 | Pipe Insulation | 42 lf | Yes | 5 | Above Ceiling
5 | 1 | 163 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 164 | 9” x 9” Floor Tile/Mastic | 100 | No | 5 | Carpeted
5 | 1 | 164 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 164 | Pipe Insulation | 30 lf | Yes | 5 | Above Ceiling
5 | 1 | 164 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 165 | 9” x 9” Floor Tile/Mastic | 108 sf | No | 5 | Carpeted
5 | 1 | 165 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 165 | Pipe Insulation | 40 lf | Yes | 5 | Above Ceiling
5 | 1 | 165 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 166 | 9” x 9” Floor Tile/Mastic | 120 sf | No | 5 | Carpeted
5 | 1 | 166 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 166 | Pipe Insulation | 40 lf | Yes | 5 | Above Ceiling
5 | 1 | 166 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 167 | 9” x 9” Floor Tile/Mastic | 120 sf | No | 5 | Carpeted
5 | 1 | 167 | Pipe Fittings | 8 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 167 | Pipe Insulation | 46 lf | Yes | 5 | Above Ceiling
5 | 1 | 167 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 168 | 9” x 9” Floor Tile/Mastic | 108 sf | No | 5 | Carpeted
5 | 1 | 168 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 168 | Pipe Insulation | 46 lf | Yes | 5 | Above Ceiling
5 | 1 | 168 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 169 | 9” x 9” Floor Tile/Mastic | 120 sf | No | 5 | Carpeted
5 | 1 | 169 | Pipe Fittings | 8 ea | Yes | 5 | Above Ceiling
5 | 1 | 169 | Pipe Insulation | 36 lf | Yes | 5 | Above Ceiling
5 | 1 | 169 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 170 | 9” x 9” Floor Tile/Mastic | 120 sf | No | 5 | Carpeted
5 | 1 | 170 | Pipe Fittings | 6 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 170 | Pipe Insulation | 40 lf | Yes | 5 | Above Ceiling
5 | 1 | 170 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 171 | Pipe Fittings | 6 ea | Yes | 5 | Above Ceiling
5 | 1 | 171 | Pipe Insulation | 66 lf | Yes | 5 | Above Ceiling
5 | 1 | 171 | Transite | 24 sf | No | 5 | Radiator
5 | 1 | 172 | 9” x 9” Floor Tile/Mastic | 130 sf | No | 5 | Carpeted
5 | 1 | 172 | Pipe Fittings | 4 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 172 | Pipe Insulation | 30 lf | Yes | 5 | Above Ceiling
5 | 1 | 172 | Transite | 36 sf | No | 5 | Radiator
5 | 1 | 173 | 9” x 9” Floor Tile/Mastic | 132 sf | No | 5 | Carpeted
5 | 1 | 173 | Pipe Fittings | 9 ea | Yes | 5 | Above Ceiling & Radiator Pipes
5 | 1 | 173 | Pipe Insulation | 69 lf | Yes | 5 | Above Ceiling
5 | 1 | 173 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 174 | Pipe Fittings | 3 ea | Yes | 5 | Radiator Pipes
5 | 1 | 174 | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 175 | 9” x 9” Floor Tile/Mastic | 192 sf | No | 5 | Carpeted |  | Abated
5 | 1 | 175 | Pipe Insulation | 60 lf | Yes | 5 | Above Ceiling
5 | 1 | 175 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 1 | 179 | 9” x 9” Floor Tile/Mastic | 192 sf | No | 5 | Carpeted |  | Abated
5 | 1 | 179 | Pipe Fittings | 5 ea | Yes | 5 | Above Ceiling & Radiator Pipes |  | Abated
5 | 1 | 179 | Pipe Insulation | 44 lf | Yes | 5 | Above Ceiling | Abated
5 | 1 | 179 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 1 | 106C | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 106D | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 106E | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 106F | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 111A | 9” x 9” Floor Tile/Mastic | 120 sf | No | 5 | Carpeted
5 | 1 | 111A | Pipe Fittings | 8 ea | Yes | 5 | Above Ceiling
5 | 1 | 111A | Pipe Insulation | 47 lf | Yes | 5 | Above Ceiling
5 | 1 | 111A | Transite | 12 sf | No | 5 | Radiator
5 | 1 | 142C | Transite | 12 sf | No | 5 | Radiator
5 | 1 | Stairwell No. 3 | Transite | 12 sf | No | 5 | Radiator
[7 empty] | Total | 0 | 0

## Building 5 - 2nd Floor
BUILDING 5 - SECOND FLOOR
BUILDING | FLOOR | ROOM | MATERIAL DESCRIPTION | QUANTITY | FRIABLE | AHERA ASSESSMENT CATEGORY | REMARKS | Friable Cost and Air Monitoring | Non Friable cost and Air Monitoring
5 | 2 | 201 | Transite | 12 sf | No | 5 | Radiator
5 | 2 | 201A | Transite | 18 sf | No | 5 | Radiator
5 | 2 | 201B | Transite | 18 sf | No | 5 | Radiator
5 | 2 | 202 | Transite | 12 sf | No | 5 | Radiator
5 | 2 | 204 | Pipe Fittings | 13 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 204 | Pipe Insulation | 48 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 204 | Transite | 24 sf | No | 5 | Radiator |  | Abated
5 | 2 | 205 | 9” x 9” Floor Tile/Mastic | 140 sf | No | 5 |  |  | Abated
5 | 2 | 205 | Pipe Fittings | 9 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 205 | Pipe Insulation | 44 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 205 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 206 | 9” x 9” Floor Tile/Mastic | 128 sf | No | 5 |  |  | Abated
5 | 2 | 206 | Pipe Fittings | 5 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 206 | Pipe Insulation | 11 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 206 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 207 | Pipe Fittings | 13 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 207 | Pipe Insulation | 42 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 207 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 208 | 9” x 9” Floor Tile/Mastic | 160 sf | No | 5 |  |  | Abated
5 | 2 | 208 | Pipe Fittings | 8 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 208 | Pipe Insulation | 9 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 208 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 209 | 9” x 9” Floor Tile/Mastic | 288 sf | No | 5 |  |  | Abated
5 | 2 | 209 | Pipe Insulation | 44 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 209 | Transite | 24 sf | No | 5 | Radiator |  | Abated
5 | 2 | 210 | Transite | 12 sf |  | 5 | Radiator |  | Abated
5 | 2 | 215 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 215 | Pipe Insulation | 33 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 215 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 216 | Pipe Fittings | 8 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 216 | Pipe Insulation | 10 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 216 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 217 | Pipe Fittings | 8 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 217 | Pipe Insulation | 48 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 217 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 218 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 218 | Pipe Insulation | 10 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 218 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 219 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 220A | Transite | 24 sf | No | 5 | Radiator |  | Abated
5 | 2 | 221 | Transite | 24 sf | No | 5 | Radiator |  | Abated
5 | 2 | 222 | Pipe Fittings | 14 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 222 | Pipe Insulation | 82 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 222 | Transite | 24 sf | No | 5 | Radiator |  | Abated
5 | 2 | 222A | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 222B | Pipe Fittings | 18 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 222B | Pipe Insulation | 22 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 222B | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 223 | Pipe Fittings | 10 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 223 | Pipe Insulation | 42 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 223 | Transite | 24 sf | No | 5 | Radiator |  | Abated
5 | 2 | 224 | Pipe Fittings | 6 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 224 | Pipe Insulation | 8 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 224 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 225 | Pipe Fittings | 9 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 225 | Pipe Insulation | 42 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 225 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 226 | Pipe Fittings | 6 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 226 | Pipe Insulation | 12 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 226 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 227 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 229 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 230 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 234 | Pipe Fittings | 7 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 234 | Pipe Insulation | 5 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 235 | Pipe Fittings | 8 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 235 | Pipe Insulation | 20 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 236 | Pipe Fittings | 17 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 236 | Pipe Insulation | 99 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 236 | Transite | 48 sf | No | 5 | Radiator |  | Abated
5 | 2 | 238 | Pipe Fittings | 6 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 238 | Pipe Insulation | 15 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 238 | Transite | 12 sf | No | 5 | Radiator |  | Abated
5 | 2 | 239 | 9” x 9” Floor Tile/Mastic | 285 sf | No | 5 |  |  | Abated
5 | 2 | 239 | Pipe Fittings | 6 ea | Yes | 5 |  | Abated
5 | 2 | 239 | Pipe Insulation | 52 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 239 | Transite | 24 sf | No | 5 | Radiator |  | Abated
5 | 2 | 240 | 9” x 9” Floor Tile/Mastic | 330 sf | No | 5 | Carpeted |  | Abated
5 | 2 | 240 | Pipe Fittings | 8 ea | Yes | 5 | Above Ceiling | Abated
5 | 2 | 240 | Pipe Insulation | 52 lf | Yes | 5 | Above Ceiling | Abated
5 | 2 | 240 | Transite | 24 sf | No | 5 | Radiator |  | Abated
5 | 2 | 243A | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 244 | Pipe Fittings | 84 ea | Yes | 5 | Above Ceiling
5 | 2 | 244 | Pipe Insulation | 360 lf | Yes | 5 | Above Ceiling
5 | 2 | 245 | Pipe Fittings | 18 ea | Yes | 5 | Above Ceiling
5 | 2 | 245 | Pipe Insulation | 69 lf | Yes | 5 | Above Ceiling
5 | 2 | 245 | Transite | 30 sf | No | 5 | Radiator
5 | 2 | 245C | Pipe Fittings | 18 ea | Yes | 5 | Above Ceiling
5 | 2 | 245C | Pipe Insulation | 24 lf | Yes | 5 | Above Ceiling
5 | 2 | 245D | Pipe Fittings | 18 ea | Yes | 5 | Above Ceiling
5 | 2 | 245D | Pipe Insulation | 24 lf | Yes | 5 | Above Ceiling
5 | 2 | 245E | Pipe Fittings | 18 ea | Yes | 5 | Above Ceiling
5 | 2 | 245E | Pipe Insulation | 24 lf | Yes | 5 | Above Ceiling
5 | 2 | 247 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 248 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 271 Stair No. 2 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 272 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 273 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 274 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 276 | Transite | 12 sf | No | 5 | Radiator
5 | 2 | 277 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 279 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 280 | Transite | 12 sf | No | 5 | Radiator
5 | 2 | 281 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 282 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 283 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 284 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 286 | Transite | 48 sf | No | 5 | Radiator
5 | 2 | 290 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | 291 | Transite | 24 sf | No | 5 | Radiator
5 | 2 | C-287 | 9” x 9” Floor Tile/Mastic | 703 sf | No | 5 | Carpeted
5 | 2 | Stair No. 3 | Transite | 12 sf | No | 5 | Radiator
[7 empty] | Total | 0