5. PROJECT NUMBER (if applicable)

CODE

7. ADMINISTERED BY

2. AMENDMENT/MODIFICATION NUMBER

CODE

6. ISSUED BY

8. NAME AND ADDRESS OF CONTRACTOR

4. REQUISITION/PURCHASE REQ. NUMBER

3. EFFECTIVE DATE

9A. AMENDMENT OF SOLICITATION NUMBER

9B. DATED

PAGE OF PAGES

10A. MODIFICATION OF CONTRACT/ORDER NUMBER

10B. DATED

BPA NO.

1. CONTRACT ID CODE

FACILITY CODE

CODE

Offers must acknowledge receipt of this amendment prior to the hour and date specified in the solicitation or as amended, by one of the following methods:

The above numbered solicitation is amended as set forth in Item 14. The hour and date specified for receipt of Offers

**E. IMPORTANT:**

is extended,

(a) By completing Items 8 and 15, and returning \_\_\_\_\_\_\_\_\_\_ copies of the amendment; (b) By acknowledging receipt of this amendment on each copy of the

offer submitted; or (c) By separate letter or electronic communication which includes a reference to the solicitation and amendment numbers. FAILURE OF YOUR

ACKNOWLEDGMENT TO BE RECEIVED AT THE PLACE DESIGNATED FOR THE RECEIPT OF OFFERS PRIOR TO THE HOUR AND DATE SPECIFIED MAY

is not extended.

12. ACCOUNTING AND APPROPRIATION DATA

(REV. 11/2016)

is required to sign this document and return \_\_\_\_\_\_\_\_\_\_\_ copies to the issuing office.

is not,

A. THIS CHANGE ORDER IS ISSUED PURSUANT TO: (Specify authority) THE CHANGES SET FORTH IN ITEM 14 ARE MADE IN THE CONTRACT ORDER NO. IN ITEM 10A.

15C. DATE SIGNED

B. THE ABOVE NUMBERED CONTRACT/ORDER IS MODIFIED TO REFLECT THE ADMINISTRATIVE CHANGES

SET FORTH IN ITEM 14, PURSUANT TO THE AUTHORITY OF FAR 43.103(b).

RESULT IN REJECTION OF YOUR OFFER. If by virtue of this amendment you desire to change an offer already submitted, such change may be made by letter

or electronic communication, provided each letter or electronic communication makes reference to the solicitation and this amendment, and is received prior to

the opening hour and date specified.

C. THIS SUPPLEMENTAL AGREEMENT IS ENTERED INTO PURSUANT TO AUTHORITY OF:

D. OTHER

Contractor

16C. DATE SIGNED

14. DESCRIPTION OF AMENDMENT/MODIFICATION

16B. UNITED STATES OF AMERICA

Except as provided herein, all terms and conditions of the document referenced in Item 9A or 10A, as heretofore changed, remains unchanged and in full force and effect.

15A. NAME AND TITLE OF SIGNER

16A. NAME AND TITLE OF CONTRACTING OFFICER

15B. CONTRACTOR/OFFEROR

STANDARD FORM 30

PREVIOUS EDITION NOT USABLE

Prescribed by GSA - FAR (48 CFR) 53.243

(Type or print)

(Type or print)

(Organized by UCF section headings, including solicitation/contract subject matter where feasible.)

(Number, street, county, State and ZIP Code)

(If other than Item 6)

(Specify type of modification and authority)

(such as changes in paying office, appropriation date, etc.)

(If required)

(SEE ITEM 11)

(SEE ITEM 13)

(X)

CHECK

ONE

**13. THIS ITEM APPLIES ONLY TO MODIFICATIONS OF CONTRACTS/ORDERS,**

**IT MODIFIES THE CONTRACT/ORDER NO. AS DESCRIBED IN ITEM 14.**

**11. THIS ITEM ONLY APPLIES TO AMENDMENTS OF SOLICITATIONS**

**AMENDMENT OF SOLICITATION/MODIFICATION OF CONTRACT**

(Signature of person authorized to sign)

(Signature of Contracting Officer)

1

5

0003

09-09-2022

568-22-4-9931-0073

568A4-21-709

36C263

Department of Veterans Affairs

Network 23 Contracting Office (NCO 23)

111 South 18th Plaza, Suite C38

Omaha NE 68102-2077

36C263

Department of Veterans Affairs

Network 23 Contracting Office (NCO 23)

111 South 18th Plaza, Suite C38

Omaha NE 68102-2077

To all Offerors/Bidders

36C26322R0156

08-18-2022

X

X

X

1

 09/15/2022, 2:00pm CT

568-3620162-9931-854200-3223 23EHRMW23

X

1

Project# 568A4-21-709, EHRM Install of NextGen Wi-Fi (Hot Springs, South Dakota)

POC: John Kotchian, Phone: 402-996-3528, email: John.Kotchian@va.gov

This amendment posts answers to vendor questions and two additional attachments.

The Proposal due date remains Thursday, September 15, 2022 at 2:00pm CT.

List of Attachments:

Attachment 1\_ATT Checklist vs Internal TR Names (6 pages)

Attachment 2\_Telecom Demolition Plan (3 pages)

Kenneth A. Spohn

NCO 23 Contracting Officer

VA-VHA-2020-E79CB4FE

Vendor Questions and Answers as of 09-09-2022

36C26322R0156, 568A4-21-709, EHRM Install of NextGen Wi-Fi (HS)

|  |  |  |  |
| --- | --- | --- | --- |
|  |  | Question | Answer |
| 1 | Div 26-28 | Multiple Questions | Please resubmit questions individually |
| 2 | Div 26-28 | Can the drawings be reissued to scale? | AT&T did not list a scale in their “VA ENTPredictive ‐ AP Locations Revision: VA WiFiNextGen Technology Refresh Project”, HotSprings, June 22, 2022, Revision: 1.0The VA does not have access to a scaled versionof these drawings. |
| 3 | Div 26-28 | Is there a set of plans available that are less pixelated, some room names and numbers are not legible? Building 12 is the most unclear. | No, the VA does not have access to a lesspixelated version of the documents. |
| 4 | Div 26-28 | Lead times on materials will be difficult to make the 90 day period of performance, Cat6A cable could have a 4 month lead time. Can the 90 days start after material is received by the contractor? | Engineering understands the current state ofmany materials that have long lead times. Thecontracting officer can work as needed with the awarded contractor on a limited notice to proceed to begin administrative work such as submittals, followed by issue formal notice to proceed once materials are received. |
| 5 | Div 26-28 | Division 271000 cable color cart calls for ‘wireless’ to be orange SOW calls for green, please clarify | The contractor will install Orange cable asindicated in Division 271000. |
| 6 | Div 26-28 | Please define the scope of work for each symbol on the drawings. (Original AP, Redesign AP, Move w/New cable AP, Moved AP, Remediation AP) | Contractor will be responsible for all the Black(New) colored AP and Blue AP’s that need to berelocated. A majority of the new WiFi accesspoint to be installed are described on theAppendix A: Access Point/Conduit InstallationChecklist (pg. 15 of 45) in the 36C26322R0156‐003‐1‐Solicitation document. |
| 7 | Div 26-28 | Do any of the exiting Aps need removed, reinstalled or demolished? | Yes there are some existing AP’s that will berelocated, the AP’s are coded blue with a purplearrow indicating the new location. The newlocation AP is then colored Brownish. A majority of the new WiFi access point to beinstalled are described on the Appendix A: AccessPoint/Conduit Installation Checklist (pg. 15 of 45)in the 36C26322R0156‐003‐1‐Solicitationdocument. |
| 8 | Div 26-28 | Is the scope of work only for the 70 AP listed in Appendix A? | The drawings show all the additional AP’s. Amajority of the new WiFi access point, not all, tobe installed are described on the Appendix A:Access Point/Conduit Installation Checklist (pg. 15of 45) in the 36C26322R0156‐003‐1‐Solicitationdocument. |
| 9 | Div 26-28 | Is the conduit, cable tray, j-hooks and telephone boxes show on the drawings ‘as-built’ conditions or new work? | The Conduit and cable tray routings show in thedrawings (36C26322R0156‐002‐Drawings) are“current state, as built”. |
| 10 | Div 26-28 | Can the TR(s) get labeled on the drawings the same as Appendix A? | The naming convention in Appendix A is Building‐Floor‐Room. See attached “Cross Walk” |
| 11 | Div 26-28 | Can picture be provided of each IT closed new cable is getting ran to, so the contractor can identify what closets need new patch panels and which ones have existing space? | No pictures will not be provided. The VA willprovide the new patch panels where needed andcontractor will install. |
| 12 | Div 26-28 | What is the patch panels manufacture of the exiting patch panels in each IT closet? | Panduit. |
| 13 | Div 26-28 | Arcade – Lower: where is IT closet BArcade-F1-TB11A? | Building 1, Basement, room B25/TB11A |
| 14 | Div 26-28 | Arcade - upper: where is IT closet TB30A and 210A? | TB30A is in Building 2, Second Floor, room222A/TR30A210A is in Building 1, Second Floor room 210A |
| 15 | Div 26-28 | Building 1: where are IT closets TB11A, 210A, 204A and 206A? | TB11A = Building 1, Basement, B25/TB11A210A = Building 1, Second Floor, MH EEO‐ADRPublic Affairs204A = Building 1, Second Floor, Domiciliary Care206A = Building 1, Second Floor, Psychiatry |
| 16 | Div 26-28 | Building 2: where are IT closets F2-FB-TN10 and B2-FB-TN9A? | F2-FB-TN10 = Lower Arcade, West(Warehouse side).B2-FB-TN9A = Lower Arcade, East(Canteen side). |
| 17 | Div 26-28 | Building 5: is IT closet 14A the TR noted in dinning room 14? | Yes it is in Building 5, Basement, Canteen, DiningRoom 14. |
| 18 | Div 26-28 | Building 5 1st & 2nd floor- where is IT closet B5-FB-14A? | Building 5, Basement, Canteen, Dining Room 14. |
| 19 | Div 26-28 | Building 6: where is IT closet B65-F1-100? | AT&T missed labeled. IT is located in thebasement center lobby. |
| 20 | Div 26-28 | Building 7: appendix A calls for the IT room for building 7 to be the same as building 6, it that correct? | No, Building 6 and Building 7 both have OITcabinets on the Basement Floor. |
| 21 | Div 26-28 | Building 7: where is IT closet B65-F1-100? | AT&T missed labeled. IT is located in thebasement center lobby. |
| 22 | Div 26-28 | Building 8: is the IT closet 13 in the storage room 13 or in the hallway outside of storage 11? | Building 8 has OIT cabinets in storage room13. |
| 23 | Div 26-28 | Building 8: where is IT closet B8-FB-13 | Building 8 B8-FB-13 is an OIT cabinet instorage room 13 (Building 8, Basement). |
| 24 | Div 26-28 | Building 9: where in building 2 is B2-FB-TB9A? | B2-FB-TN9A = TB9A, Lower Arcade, East(Canteen side) |
| 25 | Div 26-28 | Building 10: where is IT closet B2-FB-RTB9? | B2-FB-RTB9= TB10A, Lower Arcade, West(Warehouse side) |
| 26 | Div 26-28 | Building 11: is IT closet B11-FG-1 the same as IT closet 1? | B11-FG-1 = Building 11, Ground FloorExisting Data Closet 002 (also called TC29). |
| 27 | Div 26-28 | Building 11: is IT closet B11-FG-1 the same as IT closet 1? | Repeat question, see answer to question number 26. |
| 28 | Div 26-28 | Building 12: where is IT closet B53-F1-107 and B12-FB-B39? | B53-F1-107 = Building 53, First Floor,telephone closet 107.B12-FB-B39 = Building 12, Basement,Sector C, D, telecom room DB01A |
| 29 | Div 26-28 | Building 12: is the work only in the basement, nothing on 1, 2, 3 or 4th floors? | No, there are new AP’s requiring conduit in theBasement, Floor 1, Floor 2, Floor 3 and Floor 4.Refer to the 36C26322R0156‐002‐Drawings andAP’s indicated in Black. |
| 30 | Div 26-28 | Building 13: is the IT closet in room 2? | Building 13, First Floor, Room 102 Parts StorageSP2‐13‐HS. |
| 31 | Div 26-28 | Is there any work in building 14? | Yes, Refer to 36C26322R0156‐002‐Drawings andAP’s indicated in Black. |
| 32 | Div 26-28 | Building 17: is IT closet B17-FB-100 in the basement of that building? | Yes, it is a free‐standing OIT cabinet. |
| 33 | Div 26-28 | Is there any work in building 18? | No, Building 18 does not require any new AP’srefer to 36C26322R0156‐002‐Drawings. |
| 34 | Div 26-28 | Building 20: is the IT closet B20-FB-5B1 in the basement mechanical room of that building? | It is in a full height crawl space, accessed from adoorway on the stairway going from first floor tothe basement floor. |
| 35 | Div 26-28 | Building 43: is IT closet B43-FB-43 in the basement of that building? | Yes, IT closet B43-FB-43 is a free-standingOIT cabinet in the Basement of Building 43. |
| 36 | Div 26-28 | Building B: Is IT closet B14-FG-102A in building 14? Will this cabling need to be in a duct bank or underground conduit between buildings? Is the pathway between the buildings existing and sized for additional cabling? Will this cabling require to be outside / wet location rated between buildings? Will lightning / surge protection be required for this cable? | Yes, B14-FG-102A is located in Building 14,Ground Floor. It is anticipated that thepathway between the buildings is existingand sized for additional cabling. |
| 37 | Div 26-28 | The conduit checklist appears to be missing Bldgs 1,2,&3 first floor devices. Please provide if possible. | Refer to the 36C26322R0156‐002‐Drawings. Allcabling for all new AP’S will be fed from thenearest TR or OIT cabinet. |
| 38 | Div 26-28 | Can we just run the cable for each access point to the closest IT closet? | Yes. |
| 39 | Div 26-28 | The solicitation requires as built drawings to reflect the installation under this solicitation. Do we have an original set to start with? | Yes. |
| 40 | Div 26-28 | Is the VA going to provide an escort when it is needed for the IT rooms? | Yes. |
| 41 | Div 26-28 | There are no plans for 23, can they be provided? | Yes. See attached. |